0	Client:

System #

System Title

P&ID

Info

1	Controller Requirements: (Processor)

Mfg./Model

Memory Size

Communications Ports

I/O Number

(  ) 	Digital inputs and type

(  )	Digital outputs and type

(  )	Analog inputs

(  )	Analog outputs

(  )	Specialty modules

(  ) Flow computers

(  ) Motion control

(  ) Weigh Scales

(  )

(  )	Remote I/O

(  )	Field device communication adaptors and interfaces.

(  ) Modbus

(  ) Ethernet

(  ) DeviceNet

(  ) AS-I Bus

(  ) Profibus

(  )

(  )	Local control network type

(  )	Control blocks (PID, cascaded PID, etc.)

(  )	Special blocks and algorithms.

(  )	Radio Modem/Wireless _____________________________________

(  )	Intranet/Internet Access/Remote Support________________________

2	Redundancy Requirements:

(  )	None

(  )	Processor

(  )	I/O

(  )	Field Devices

(  )	Control network and cable

(  )	Device network and cable.

(  )	Power supplies.

(  )	System server

(  )

(  )

3	Human-Machine Interface / Operator workstation:

(  )	Switches & Lights

(  )	Graphic Panel

(  )	Operator Terminal

(  )	CRT/Workstation/PC

Features:

(  )	Alarming

(  )	Alarm messaging (text-to-speech, phone, fax, email)

(  )	Trending

(  )	Historization

(  )	Statistics (SPC).

(  )	Buttons, especify:

(  )	Logging method.

(  )	Configuration

(  )	Accessibility (LAN, WAN, Internet, web)

Platform:

(  )	Visual Basic

(  )	API

(  )	ActiveX

(  )	OPC Server.

(  )	HMI Software (WinCC, RSView32, 	Wonderware, Cimplicity, etc.)

(  )	DCS

4	Peripherals

(  )	Printer

(  )	Others

5	I/O System Design

Action on Power Failure:

(  )	Outputs fail safe

(  )	Outputs hold last position

(  )	Sequence return to start

Energy Suppression Devices Required:

(  )	Inductive DC Outputs

(  )	Inductive AC Outputs

Percent Spare Capacity:

(  )	I/O Modules:	___________________________________________

(  )	Module expansion space:	________________________________

(  )	Memory size:	___________________________________________

Simulation

(  ) 	None

(  ) 	PC driven simulation

(  )	PLC Emulator

(  )	Switches and Lights

(  )	Software

(  )	Custom Software

Installation

(  )	Prefabricated enclosure

(  )	Field contractor to install

(  )	Integral environment control

- Software, configuration and development.

(  )	Operating system (Unix, Windows 95/98/NT/2000/XP)

(  )	Communications software

(  )	Proprietary drivers

(  )	Data server/Kepware

(  )	Cross platform requirements (DDE, OPC, Gateways)

(  )	Programming software

(  )	Specialty

(  )	Loop tuning

(  )	Batch.

(  )	Accessibility (LAN, WAN, Internet, web).

(  )	Custom software development  (Visual Basic, C++, SQL, web/ASP).

(  ) 	Databases, Datalog, History, Alarms (MSAccess, SQL Server, Oracle)

(   )	Web Server/Services.  Web access

Date:_______________________	By:____________________________________