DETECTOR CONFIGURATION SHEET

Customer: ___________________

PO # ___________________

Please be advised that the model you have ordered:   Model 20/20 MI?-???

is a sealed unit which must have the performance settings preset at the factory before shipping.

Please choose your required performance settings below:

Note:  [D] Indicates the Factory Default Setting

1) Double-click on appropriate gray box.

2) Select the checked option.

3) Click the OK button.

- Alarm Delay Settings: (in seconds)

0

A (anti-flare) [D]

3

5

10

15

20

30

- Sensitivity Settings:

20/20 MI-3 Models 2.5 m (8.2 ft) 5 m (16.4 ft) [D] 7.5 m (24.7 ft) 10 m (33 ft)

- General:

Alarm Latching	 Yes	 No [D]

Enable Automatic BIT	 Yes [D]	 No

Activate Alarm on successful manual BIT	 Yes [D]	 No

Please email form to: orders@GasDetectorsUSA.com or fax it to

281-771-0607