## chksht
ZELLWEGER ANALYTICS SYSTEM 57 ADVANCED APPLICATION CHECKLIST
Your Company: |  |  | Your Order: |  |  | End User
Rack Sheet of Date:
Card Type | Function |  | Setting | Slot Number(s): |  |  |  | Slot Number(s):
|  |  |  | Ch 1 | Ch 2 | Ch 3 | Ch 4 | Ch 1 | Ch 2 | Ch 3 | Ch 4
General Settings
Gas | Calibration Reminder |  | Off / # months
| Zero Suppression |  | Off / # % fsd
| Fault Warm-up Delay |  | Off / # seconds
Fire | Earth Leakage |  | Enable/Disable
Individual Alarm Setup
All | Fault | Relay / Output | Def / RL#, OP# + E / D
|  | Latch | Enable/Disable
All | Inhibit | Relay / Output | Def / RL#, OP# + E / D
Gas | A1 | Threshold | 20 / #% fsd
|  | Mode | Off / Ris / Fall
|  | Latch | Enable/Disable
|  | Relay | Def / RL# + E / D
| A2 | Threshold | 50 / # % fsd
|  | Mode | Off / Ris / Fall
|  | Latch | Enable/Disable
|  | Relay | Def / RL# + E / D
| A3 | Threshold | 75 / # % fsd
|  | Mode/BB | Off / Ris / Fall / BB
|  | Latch | Enable/Disable
|  | Relay | Def / RL# + E / D
Gas | STEL | Threshold | # % fsd
|  | Mode | Off / 10 / 15 / 30
|  | Latch | Enable/Disable
|  | Relay | Def / RL# + E / D
| LTEL | Threshold | # % fsd
|  | Mode | Enable/Disable
|  | Latch | Enable/Disable
|  | Relay | Def / RL# + E / D
Gas (5701 only) | RATE | Threshold | 5 / # % fsd/sec
|  | Mode | Off / Ris / Fall
|  | Latch | Enable/Disable
|  | Relay | Def / RL# + E / D
Gas | UPDATE | Mode | Off / # secs
|  | Events | A1/A2/A3/Stel/Ltel/Rate
|  | Relay | Def / RL# + E / D
Fire | Alarm Threshold |  | 10 / # mA
| O/C Fault Threshold |  | 3 / # mA
| S/C Fault Threshold |  | 30 / # mA
| Relay / Output |  | Def / RL#, OP# + E / D
Complex Alarm Setup
All | Mode |  | Off / Mstr / Custom
| Participants (for Custom) |  | Slot (& Chan)
| Vote Compensation |  | None / specify
| Vote Counts |  | 1 / A1:#, A2:#, A3:#
All | Relay / Output | FAULT | Def / RL#, OP# + E / D
All |  | INHIBIT | Def / RL#, OP# + E / D
All |  | A1 | Def / RL#, OP# + E / D
All |  | A2 | Def / RL#, OP# + E / D
All |  | A3 | Def / RL#, OP# + E / D
Gas |  | STEL | Def / RL#, OP# + E / D
Gas |  | LTEL | Def / RL#, OP# + E / D
Gas |  | RATE | Def / RL#, OP# + E / D
All |  | UPDATE | Def / RL#, OP# + E / D
Fire |  | FIRE | Def / RL#, OP# + E / D
Fire |  | SILENCE | Def / RL#, OP# + E / D
Fire |  | OP FLT | Def / RL#, OP# + E / D
Relay Delay Setup
Gas | Relay Delay Time |  | Off / RL# + ##:##
| Relay Hold Time |  | Off / RL# + ##:##