# Technical data for CEMS

Please provide the following information to help us provide a system that exactly suits your requirements.

Email:

Fax:

Date:

Industry: ..........................................			Source of emission: ..................................

Type of fuel: 	( gas		( liquids		( coal/wood		( ...........................

Stack details:	( steel	( brick		insulation thickness:	......................... mm

inside – Ø		......................... mm

inside - AxB		........... x .......... mm

Sampling point		( outdoor	( indoor	( hazardous zone

details:				ambient temperature °C			...... min.   ..... max.

on site compressed air, oil-/water free,		( yes	( no

on site power supply				...... V/ ..... Hz	( no

required sampling tube insertion depth	….…….............. m

Analyzer mounting		( outdoor	( indoor	( hazardous zone

place (site)			ambient temperature °C			...... min.   ..... max.

distance probe to analyzer				............... m

Typical 			Temperature .........	°C		Pressure .............	mbar

flue gas details		O2 .......................	%		Humidity ..............	%

(at sampling point		CO ......................	ppm		HF ...............		ppm

under normal opera-		NO ....................	ppm		HCL ...............	ppm

ting conditions)		NO2 ......................	ppm		others	 ...........	ppm

SO2 ......................	ppm		Flow velocity…..	m/s

Dust .............		mg/m³               Particle size ......	µm

Monitored			( O2			range 0 to ........	%

flue gas components		( CO2			range 0 to ..............	%

( CO			range 0 to ........	ppm / mg/m3

( NO			range 0 to ........	ppm / mg/m3

( NOx			range 0 to ........	ppm / mg/m3

( SO2			range 0 to ........	ppm / mg/m3

( CxHy(as C3H8)	range 0 to ........	ppm / mg/m3

( CxHy(as CH4)	range 0 to ........	ppm / mg/m3

( Gas temperature	range 0 to ........	° C

( Gas flow		range 0 to ........	m/s

Other requirements

Please email this data sheet to sales@GasDetectorsUSA.com in the U.S.A.

# Text boxes

CUSTOMER:.......................................................................................................................................................................................................

.................................................

.................................................

.................................................

................................................................................................................................................................................................................................................................................................................................................................................................................................................................................................